## Slide 1
Energy everywhere
The implications of using geotechnical infrastructure as energy infrastructure
Phil Vardon
Professor Energy Geo-mechanics
Notes: Some details – mainly big picture…..details you can ask

## Slide 2: Heat and the energy transition

## Slide 3: Heat and the energy transition

## Slide 4: Energy usage – typical NL
Electricity usage
Gas usage
Electricity and gas usage
Electricity (incl. for heatpump) usage

## Slide 5: There is no energy problem. There is an exergy problem.
Notes: Figure on thermal profile of the ground.
Energy is available – but not at high temperature. Rennovate buildings.
We need it warm when it is cold, we need it cold when it is warm.

## Slide 6: Shallow geothermal – heat and/or cooling
Notes: Keeping things in the right place, getting things out

## Slide 7
COP = 3.5 (assumed, conservative for good system)
4% increase per year for electricity and gas (electricity ~ 2x gas price)
Why is shallow geothermal not already used everywhere?

## Slide 8
Energy geostructure (pile)
Notes: This applies to all energy infrastructure

## Slide 9
Barla et al., 2016
Geothermal International, 2011
Energy geo-structures
Vardon, 2020
Notes: Energy tunnels / walls etc….

## Slide 10
COP = 3.5 (assumed, conservative for good system)
4% increase per year for electricity and gas (electricity ~ 2x gas price)
Why is shallow geothermal not already used everywhere?

## Slide 11: Design
Energy:
  Material properties: methods exist
  Heat is stored, spacing is important
  New well-insulated buildings means energy geo-structures are very possible
  Much work is available: not discussed today
Impact on structures
  Design structure, then energy system
  Structure dependent
  Slow cyclic loads (days and years)

## Slide 12: Thermal expansion and stress changes
Normal geotechnics
Thermal geotechnics

## Slide 13: Thermal expansion and stress changes
Extreme 1: fully constrained
Extreme 2: fully free
Most situations are between these two.
Notes: Apply strain, then check mechanics….

## Slide 14: Thermal expansion - structure
Extreme: time = 0
Notes: Shear strains on soil from structure….

## Slide 15: Thermal strength and stress changes
CNL
CNS

## Slide 16: Thermal creep
Extreme: many thermal cycles
(almost fixed)
Notes: No change in mechanical loading

## Slide 17: Material thermo-mechanics
Materials do not change strength (much) with temperature (in this range)
Confining stresses can reduce with cyclic shear strain cycles – need large cycles
Thermal creep exists

## Slide 18: Thermal pile test

## Slide 19: Pile head displacement – fixed loads
Zero applied load: elastic
Impacted by surface and ground temps

## Slide 20: Pile head displacement – fixed loads
40% maximum load: thermal creep, 5 cycles, then elastic

## Slide 21: Pile head displacement – fixed loads
60% maximum load: thermal creep, continuous

## Slide 22: Thermal pile test: thermal creep

## Slide 23: Implications for thermal pile design
Long term thermal loads: soil and pile expand/contract: moderate structure displacement.
Displacements are more critical than shear strength in most normal situations.
Reasonable safety factors restrict thermal creep, and soil compaction (CNS)

## Slide 24: Energy quay wall

## Slide 25: Energy quay wall
Don’t rely on confining stress, or shear strength
Energy can come from ground/water:
  Where is the exergy best?

## Slide 26
Energy quay wall – field test
1. Deep loops 2. Shallow loops 3.Add-on panels

## Slide 27
Energy quay wall – field test
Model and field data agree. Field test has valuable data.
Thermo-mechanical changes very small – adding sand backfill more significant.

## Slide 28
Energy quay wall – field test
Water can provide most energy: unless for short period and cold
Air – water – soil react in this order

## Slide 29: Summary
Useful energy is all around…we are in a position to make it useable (and cost-effective).
There are additional geotechnical loads, but in most reasonable cases do not change the structural design.

## Slide 30
Phil Vardon
Professor
Geo-Engineering Section TU Delft
T +31 (0)15 27 81456 | E P.J.Vardon@tudelft.nl | W http://www.citg.tudelft.nl/pj-vardon/
Acknowledgements
Colleagues: Ali Golchin, Yimu Gou, Ivo Pantev, Mouadh Rafai, Marco Gerola, Jacco Haasnoot, Vincent Leclerq, Jorrit de Vries, Francesco Cecinato, Ed Revoort
Funders: NWO, RVO